## Slide 1: Blood Glucose Monitor
Our Team:
EE: Chris Homa, Matt Henne, Mike Williams
ME: Ish Amagashie
CS: Sofyan Saputra

## Slide 2: Introduction
We want to bring blood glucose monitoring to the 21st century!

## Slide 3: Problem Description
When was the last time I checked my blood sugar?
Why do I not feel good?
Did I remember everything?
Where is my glucometer?
Where are my test strips?
Where is my lancing device?

## Slide 4: Problem Description

## Slide 5: Problem Description
Why is this so hard?

## Slide 6: Proposed Solution
All-in-one device
  Glucometer
  Lancing Device
  Test Strip Cartridge
  Insulin Pen
Web App

## Slide 7: Demonstrated Features
· Hold a standard size cartridge of test strips
· Provide a lancing device
· A slot to insert the test strip into the glucometer.
· A microcontroller with analog to digital converter to generate a blood sugar reading.
· A microcontroller that can calibrate to multiple test strips

## Slide 8: Demonstrated Features
· A small screen LCD display
· A Bluetooth chip to send to the user’s smartphone.
· A smartphone app
· Either replaceable watch batteries or micro-USB rechargeable battery
· Packaged in a sleek design that will comfortably attach to the user’s insulin pen.

## Slide 9: Available Technologies: Microcontroller
Microcontroller:
· Analog to digital converter
· Small, must fit within a confined space
· Low energy
· Serial output
LCD screen
· Low power
· Serial input
· 3 to 4 digit display
· Other dot LCD’s to signal power on, Blutooth connected, etc.

## Slide 10: Available Technologies: Bluetooth
SoC: Texas Instruments CC2540
Connectivity IC: Nordic Semiconductors nRF8001

## Slide 11: Available Technologies: Battery
CR2032
Button Cell Lithium Battery

## Slide 12: Available Technologies: General
Test Strip Cartridge and test strips: One Touch Ultra
Mechanical lancing devices
iPhone, Android Smartphone

## Slide 13: Engineering Content: Glucometer
Size constraint
Circuit board design
Optimize for low power consumption

## Slide 14: Engineering Content: Bluetooth
Data Transmission
  Microcontroller -> Bluetooth Radio
  Bluetooth Radio -> Smartphone
Minimize Power Consumption

## Slide 15: Engineering Content: Battery
Maximize battery life, minimize size
Deliver appropriate voltage to microcontroller
  Depending on battery selection, voltage may need to be altered in circuit

## Slide 16: Engineering Content: Smartphone App
Connect to our glucometer using bluetooth
Store user’s readings
Help interpret blood sugar readings
Allow communication with their physician
Send reminders to check blood sugar

## Slide 17: Engineering Content: Device Casing
Combine the lancing device, glucometer, and test strip cartridge into one device
Design it to attach to insulin pens

## Slide 18: Conclusions
Difficulties:
must be compact
power consumption and battery life
responsive web app for the majority of Smartphones

## Slide 19
Despite the difficulty, we are excited since a product like what we propose is needed and could help a lot of diabetics.

## Slide 20
Any Questions?