Glucometer

Team Meeting Minutes

February 20, 2015

Sofyan’s Demo

- Web login

- Editable tables

- Different sign on users

- Mobile login also works

- Suggestions – add folders or filters to only see recent data that you’re interested in

- Mike showed a mock up of what we want the mobile site to look like

Mike’s Demos

- Explained how the test strip works: the different nodes, the voltage response, etc.)

- Demo how to connect it with clips.

- Showed the oscilloscope response of the circuit.  Linear spike, plateau, and exponential decay

- Need different solutions to properly gauge the circuit

- Need to purchase the generic test strips

- Needs three op-amps; added a difference amplifier

Chris’s Demo

- Able to connect his phone to the Bluetooth

- Send some data through.  Difficulty with the number of data transactions

- Next, work with Sofyan with send data to database

- Add verification (pin number) to prevent data theft. Is it necessary?

Matt’s Demo

- Was able to read the initialization sequence sent through SPI in Arduino

- Developed the SPI to write to the LCD with PIC16

- Used PIC32 to work to start the LCD screen

- Know how to write all the commands, just not sure how to bitmap it to show something

- Adafruit software for OLED writing an alphabet

Ish’s Demo

- Changing focus to the lancing device

- Considerations: spring loaded (depth settings) and actual injection execution

- Working on how it will fit within the pen cap